SynchNeuro™ Cardiometabolic Advisor

Patient FAQ & Troubleshooting Guide

# Frequently Asked Questions

## About the Device

What does this device do?

The SynchNeuro sensor records electrical brain activity (EEG) while you wear it. The data collected during this study will be used for research and development purposes. The app does not currently display EEG derived health insights — that feature is being developed for future versions.

Where does the sensor go?

The sensor sits behind your left ear, resting on the hard bony bump directly behind your earlobe. It should hug the curve of your ear with the pointed tip facing away from your head.

Is this a medical device that diagnoses conditions?

No. The SynchNeuro system is not intended to diagnose, treat, or manage any medical condition. It is a research-grade wearable used in this study purely to collect data for developmental purposes.

## Wearing the Device

Do I need to wear it all the time?

Yes — for the best results during the 14-day study, please wear the device continuously, including during sleep. The sensor records automatically once applied, even if the app is closed.

Can I shower or swim while wearing it?

No. You must remove the sensor pod from the patch electrode before showering, bathing, or swimming. Water will damage the device. The patch electrode can remain in place during showering or swimming.

⚠ Do NOT expose the sensor to water. Remove before showering, bathing, or swimming.

Can I wear earrings or glasses while wearing the sensor?

Remove earrings, glasses, and hats before applying the sensor. Once it is secured, you may put them back on, but be mindful not to disturb the patch placement.

What if the skin behind my ear feels irritated?

Remove the sensor and patch immediately. Clean the area gently with mild soap and water. Do not reapply until the irritation has resolved, and submit a symptom report via the SynchNeuro app.

## Charging & Battery

How often do I need to charge the sensor?

Every day. Gently remove the sensor pod from behind your ear (without peeling off the adhesive patch), place it in the charging case, and connect it to the USB cable. A full charge takes up to 2 hours.

How do I know it is charging?

The LED on the charging case will flash while charging. When charging is complete, the LED will stay solid (stops flashing).

## The Adhesive Patch

How often do I need to replace the patch?

Every 7 days, or sooner if it starts to peel away from your skin. Never reuse a patch once it has been removed.

What do I do if the patch stops sticking?

If the patch begins to detach, apply a new one as soon as possible. Contact the study team if you need replacement patches.

## The App

Does the sensor keep recording if I close the app?

Yes, recording continues in the background. Your phone should stay within approximately 10 meters (33 feet) of the sensor for data to sync — staying within 4 meters is ideal.

Will the app show me my data or health insights?

Not at this stage. The app is used to connect to and manage the device during this study. Data insights and analysis are planned for a future version of the SynchNeuro system.

# Troubleshooting

## Connectivity Issues

The app cannot find my sensor.

- Make sure the sensor is charged — place it in the case and confirm the LED lights up.

- Check that Bluetooth is enabled on your phone.

- Close and reopen the app, then tap Start Scanning again.

- Keep your phone within 1 meter (3 feet) of the sensor during pairing.

- If the sensor still does not appear, contact the study team.

My device will not connect via Bluetooth.

- Toggle Bluetooth off and back on in your phone settings.

- Restart the app and attempt pairing again.

- Make sure no other devices are interfering nearby.

- If the problem persists, restart your phone and try again.

## Adhesive & Patch Issues

The patch is not sticking.

- Clean the skin behind your ear again with an alcohol wipe and allow it to dry fully before reapplying.

- When applying, press firmly with two fingers for a full 30 seconds.

- If adhesion is still poor, apply a new patch.

- Contact the study team if you need replacement patches.

The sensor pod snapped off the patch.

Re-snap the sensor pod onto the patch — the magnets will click into place. If the patch itself has detached from your skin, apply a new patch before reattaching the sensor.

## Damage & Skin Reactions

I am experiencing skin irritation under the patch.

- Please submit a symptom report in the SynchNeuro app

- Remove the patch immediately.

- Clean the affected area gently with mild soap and water.

- Do not reapply a new patch until the irritation has fully resolved.

- If symptoms persist, consult a healthcare professional.